Daily Operators Checklist

| Pool Name: | Date: |
| --- | --- |
| Operator Name: | Exp Date of Certification: |

| WATER QUALITY & CHEMISTRY | VALUE/OBSERVATIONS | WITHIN RANGE |
| --- | --- | --- |
| POOL: |  | YES / NO |
| Free Chlorine |  | YES / NO |
| pH |  | YES / NO |
| Free Bromine |  | YES / NO |
| Cyanuric Acid |  | YES / NO |
| Water Clarity |  | YES / NO |
| Algae |  | YES / NO |
| Temperature |  | YES / NO |
| SPA: |  | YES / NO |
| Free Chlorine |  | YES / NO |
| pH |  | YES / NO |
| Free Bromine |  | YES / NO |
| Cyanuric Acid |  | YES / NO |
| Water Clarity |  | YES / NO |
| Algae |  | YES / NO |
| Foam |  | YES / NO |
| Temperature |  | YES / NO |

| EQUIPMENT |  |
| --- | --- |
| Pool cover removed and pool is cleared of debris and people | YES / NO |
| Main drain covers are properly intact and attached | YES / NO |
| Flow rate and backwash filters examined | YES / NO |
| Disinfectant reservoir levels are satisfactory | YES / NO |
| Pressure and vacuum gauges are within-normal-limits | YES / NO |
| Hose bibs in pool/spa yard protected with vacuum breakers | YES / NO |

| OPERATIONS |  |
| --- | --- |
| Pool and spa walls assessed for algae and stains | YES / NO |
| All inlet and outlet fittings inspected | YES / NO |
| Pool vacuumed; vacuumed cleaned after use | YES / NO |
| Scum line of pool and spa scrubbed | YES / NO |
| Skimmer baskets and gutters cleaned and emptied | YES / NO |
| Decks are swept, rinsed, and disinfected | YES / NO |
| Deck drains are cleaned and free of debris | YES / NO |
| Hair and lint strainer cleaned | YES / NO |
| Pool water has been skimmed | YES / NO |
| Pump room, chemical room, storage room, and guard rooms cleaned | YES / NO |

| SAFETY |  |
| --- | --- |
| Chemicals and distribution equipment not accessible to bathers | YES / NO |
| Buoy is functional and available | YES / NO |
| Life pole with the hook is accessible and available | YES / NO |
| Emergency phone is operational | YES / NO |
| Spa: emergency shut off switch is visible and functioning | YES / NO |
| Pools are staffed with lifeguards (if applicable) | YES / NO |
| First aid kit, AED, and backboards are available, functional, and accessible | YES / NO |
| No climbable structures or objects within 3 ft of enclosure | YES / NO |
| Gate and door latches are self-closing, self-latching, and operational | YES / NO |
| Gates and doors are not propped open | YES / NO |
| Service gate is closed and locked when not in use | YES / NO |
| All safety signs and markers for pool/ spa are serviceable, visible, & present | YES / NO |
| Pool, spa, decks, and perimeters are free of glass and other harmful debris | YES / NO |
| Depth markers, no diving symbol, and float line present |  |
| At least one certified pool operator on site |  |

| HEALTH & SANITATION |  |
| --- | --- |
| All trash receptacles have been emptied and bags changed | YES / NO |
| Trash receptacles are covered where food is present | YES / NO |
| Bathhouse has been cleaned and sanitized | YES / NO |
| Toilets, showers, and rinsing stations have been cleaned and sanitized | YES / NO |
| Pool and spa furniture has been washed down and cleaned | YES / NO |
| Decks have been swept, rinsed, and disinfected | YES / NO |
| All lifeguards have completed mandatory in-service training | YES / NO |